Selected Design and Preliminary Requirements Performance Assessment

This document contains a preliminary assessment of how our final design concept performs in terms of the finalized engineering requirements. Note that at this stage, assessments are tentative: they are qualitative and/or based on reference designs. Ideas on how the performance assessment can be improved in later design stages are listed in the column “Questions and Next Steps.”

A brief description of the final design concept is as follows:

A solar water heating system that consists of a parabolic trough heating subsystem, a heating tank with double-walled vacuum insulation, and a storage tank with a spout and two layers (one for hot water, one for cold). The system includes temperature and sunlight detection, which is used to automate trough rotation and water movement through the system.

After advancing through the initial prototyping stage of Phase 3, the following specifications were added to the design concept to complete its nature.

- Water will be transported throughout the system using gravity. This is more energy efficient as external electrical sources will not be needed to push or pump water through system components. This also improves solar power efficiency for water heating and simplifies the integration of tubing through the subsystems.

- The design will be implemented as a standalone piece of technology. It will not be directly integrated into a building but will rather prove a scalable and adaptable solution for school buildings.

- Based on Phase 2 critique feedback, it was decided that the trough would track the sun through a pre-fed algorithm that maps the sun’s position through the day. The trough uses single-axis solar tracking to autonomously rotate to capture the sun most effectively.

- For the system to check whether storage tanks are full, water level sensors will be used across storage containers to control the flow of water through them as required --> commanding inflow and outflow through opening and closing valves in the tubing.

1.1 Assessment of Primary Functional Requirements

| Objective | Is the objective met? | Justification | Questions and Next Steps |
| --- | --- | --- | --- |
| Should heat water completely through solar energy | Yes | A solar trough is used, so the water is heated using only solar energy. Other forms of energy may be used for system subcomponents (ex. for sensors, for pumping pipe heating fluid). | Make a complete list of the subcomponents that need power. How much power do they need? How can we provide this power (ex. batteries, solar)? |
| Must keep water at target temperature for a satisfactory time interval | Yes | Existing solar trough systems can heat water at 70 degrees C for 2 minutes. See reference designs in Notion database. | Do we want to prototype the trough? If so, what would be the dimensions, materials, etc.? |
| Must heat water up to a satisfactory target temperature | Yes | Existing solar trough systems can heat water at 70 degrees C. See reference designs in Notion database. | “ |
| Should store sanitized water | Yes | We incorporate a storage system. | Do we want to prototype the storage system? If so, what would be the dimensions, materials, etc.? |

1.2 Assessment of DfX Requirements

| Objective | Is the objective met? | Justification | Questions and Next Steps |
| --- | --- | --- | --- |
| HLO 1: Design for Efficiency |  |  |  |
| Must use solar power efficiently | Maybe | This would need to be tested through either simulation or physical prototype. Heat transfer in and out of the system would depend on many factors that we don’t know yet (dimensions, materials used, sunlight variability in a specific location in one day, how well the trough tilting automation works, etc.). | This metric seems hard to test accurately if we are just prototyping a part. Instead, how can we achieve a reasonable estimation of this metric? Or quantify how a specific prototyped part would contribute to this metric? This metric could not be physically tested by prototyping due to limited materials and time. However, based on reference designs, the parabolic trough is a very efficient tool in using solar power. Its capabilities are overpowered for our needs based on reference designs. https://solarparabolictrough.com/ |
| Heating tank should be thick enough to be efficiently insulated | Yes (probably) | Double-walled vacuum insulation generally has a very high R value. What this R value is for our design, and whether it passes standards, would depend on materials and dimensions used. | Figure out heating tank materials and dimensions, then determine R. |
| Solar collector must be angled toward the Sun efficiently | Yes | We are using automatic rotation. Existing solar trough systems do have single-axis solar tracking systems that work (i.e. follow the Sun throughout the day). See reference designs in Notion database. | This would be a good thing to prototype (mechatronics). Could we make any improvements to the existing tracking systems (ex. using ML)? |
| HLO 2: Design for Affordability |  |  |  |
| Should be low material cost | Maybe | Some components (ex. solar trough) are cheaper than the other components we diverged on, but some (ex. vacuum insulation) are more expensive. The cost of many components is unknown, since we haven’t completely converged on materials, specific sensors, etc. | Decide materials used. Incorporate cost analysis. |
| Should have low maintenance costs | Maybe | A solar trough typically costs nothing to maintain (cleaning just requires wiping of mirrors). The overall design has components (sensors, valves) that may be costly to maintain depending on how they are implemented. Electric components may be more expensive to fix. | Decide on how various subsystems, especially any electrical components like sensors, will be implemented. Incorporate cost analysis. Judging by the sensitivity of electromechanical components present throughout our prototype subsystems, maintenance will pose a challenge for the true design concept considering its technical complexity. |
| HLO 3: Design for Safety |  |  |  |
| Water is dispensed at a safe temperature | Yes | We incorporate multi-level cooling in storage tank. | Design this in a way that prevents overloading. |
| Any component that comes into contact with water must not transfer harmful chemicals into the water | Yes | Some safe materials were discussed (ex. stainless steel for tanks). Clean, nontoxic materials can be chosen (ex. plastics, metals). | Decide materials used. Minor components should be considered as well (ex. what material might we use as a seal between tanks and tank lids?) |
| Water heating components must be made of materials able to withstand high temperatures | Yes | Some safe materials were discussed (ex. stainless steel for tanks). Materials resistant to high temperatures can be chosen (ex. metals). | “ |
| Must seal water storage containers when not in use | Yes | Storage containers use lids. | How are the lids attached? How are they opened and closed? |
| Sensors should not overheat under normal operating conditions | Maybe | This would depend on the maximum safe temperature of the sensors used, and where they are placed in the system. | Determine sensors used and refer to their datasheets for maximum temperature. Determine sensor placement to minimize exposure to high temperatures. |
| HLO 4: Design for Reliability |  |  |  |
| Should be durable | Maybe | Some components were noted for their durability (ex. vacuum insulation), but time until failure is hard to quantify at this stage. | Determine components most at risk of failure (electrical components?). Investigate ways to mitigate/eliminate this risk. |
| Must operate for necessary number of days | Yes | Existing solar trough systems can operate 365 days a year. See reference designs in Notion database. | --- |
| HLO 5: Design for Usability |  |  |  |
| Must disinfect enough water for daily school use | Yes (probably) | 5kL is a manageable amount of water! Whether this requirement is met depends on other factors such as availability of source water, how the water is sourced and how much thermal energy the trough can capture on a particular day. | Investigate ways to meet the water requirement, ex. making the design modular (i.e. adding multiple solar troughs and tanks, as is already done in large-scale solar trough systems). |
| Any components that are meant to be moved frequently by users should be lightweight | Yes | No components are meant to be moved frequently by users. | --- |
| Must display the amount of stored sanitized water to the user(s) | Yes | The true storage tanks will be transparent, so the user has an available idea of the amount of water stored by inspection | --- |
| Should be easy to maintain | Maybe | A solar trough is easy to clean (just requires wiping of mirrors). The overall design has components (sensors, valves) that may be difficult to maintain depending on how they are implemented. Electric components may be more difficult to fix. | Decide on how various subsystems, especially any electrical components like sensors, will be implemented. Make user interface and troubleshooting as intuitive as possible. |