Storage Tanks Testing Protocol

1. Specification 1: Should store water

The system should hold all the water and must have no leakage through any parts.

Testing Protocol

- Block any holes within the tanks with a strip of duct tape

- Fill the tanks with water

- Determine if any leaks occur by inspection

- Test any leakage by swiping the tank with a tissue

Table 1: Collected Data from Testing Protocol Specification 1

See videos titled “Test1_0”, “Test1_1”, “Test1_2” in Testing Evidence folder.

| Action | Expected Output | Observed Output |
| --- | --- | --- |
| A1. Block exit hole of the boiler tank and fill with water | No water leaks from the tank Small amount of leakage from its exit hole and tape | As expected |
| A2. Block both entry and exit holes of the hot tank and fill with water | No water leaks from the tank Small amount of leakage from its exit hole and tape | As expected |
| A3. Block entry hole of the cold tank and fill with water | No water leaks from the tank | As expected |

2. Specification 2: Should transfer water to subsequent tank using gravity

The system should transfer water between the tanks without leakage.

Testing Protocol

- Connect the exit hole of the boiler tank and the entry hole of the hot tank with a tube

- Connect the exit hole of the hot tank and the entry hole of the cold tank with a tube

- Fill the boiler tank with water.

- As water flows through the tube, determine if any leaks occur between the tube and the hole by inspection.

Table 2: Collected Data from Testing Protocol Specification 2

See video titled “Test2_0” in Testing Evidence folder.

| Action | Expected Output | Observed Output |
| --- | --- | --- |
| A1. Fill the boiler tank with water | Water flows from the boiler tank to the hot tank No water leaks during transport | As expected |
| A2. Fill the hot tank with water | Water flows from the hot tank to the cold tank No water leaks during transport | As expected |